Manhattan Water Maintenance made a 2 part shutdown,

1st part 48” main on 2 Ave BT E. 42 St and E. 74 St., 4 hydrants

2nd part 36” main on 42 St BT 2 Ave and 3 Ave (0) hydrants affected. Year of main 1870.

Manhattan Water Maintenance is in the process of sounding gates and draining the 48” water main. There are no consumers affected. Emergency contractor on location excavating to determine the source of the leak.