Update

All work on the water main and utility pipes are completed. Road restoration continuing.  Road restoration continuing.

48” water main back in service. No leaks other leak on the 48 inch main.  DEP Contractor beginning to restore roadway as of 4:41 am.